## Slide 1
Signature Scientific Instrument Calibration Database
Signature-original calibration procedures that keep scientific instruments trustworthy.
SIGNATURE EDITION
Property of Justin Addam Higgins

## Slide 2
About this database
The Signature Scientific Instrument Calibration Database holds 20 calibration procedures — the full, fully-formed file for every record, not descriptions alone.
Signature-original calibration procedures that keep scientific instruments trustworthy.
Provenance: JAH Databases · lane N3 build
Browse cards show image + title + description; one click opens the complete record.

## Slide 3
Record highlights
1. Signature Zero Adjustment [JAH-SCIENT6-S-000001]
Signature-original: Sets the instrument reading to zero with zero input applied, removing offset error. Recorded facts — Procedure: Zero Adjustment; Reference: zero standard; Tolerance: 0.1% FS. Used…
2. Signature Span Adjustment [JAH-SCIENT6-S-000002]
Signature-original: Sets the full-scale reading with a known full-scale input, fixing gain error. Recorded facts — Procedure: Span Adjustment; Reference: full-scale standard; Tolerance: 0.1% FS. Used…
3. Signature Linearity Check [JAH-SCIENT6-S-000003]
Signature-original: Verifies readings stay proportional across the range, flagging bow or S-shaped error. Recorded facts — Procedure: Linearity Check; Reference: multi-point standard; Tolerance: 0.05…
4. Signature Hysteresis Test [JAH-SCIENT6-S-000004]
Signature-original: Compares upscale and downscale readings to detect mechanical or magnetic lag. Recorded facts — Procedure: Hysteresis Test; Reference: bidirectional standard; Tolerance: 0.05% FS.…
5. Signature Repeatability Test [JAH-SCIENT6-S-000005]
Signature-original: Repeats the same measurement many times to quantify random variation. Recorded facts — Procedure: Repeatability Test; Reference: stable artifact; Tolerance: 3 sigma bound. Used by…

## Slide 4
By the numbers
Records: 20
Record kind: calibration procedure
ID prefix: JAH-SCIENT6-S-
March to a million: 20 / 1,000,000 — in progress
AI librarian: Signature Scientific Instrument Calibration Librarian
Edition: Signature Edition

## Slide 5
Open the database
Signature-original calibration procedures that keep scientific instruments trustworthy.
Live database page
https://justinahiggins614-cmyk.github.io/jah-databases/db/scientific-instrument-calibration-signature/
Machine-readable data index
https://justinahiggins614-cmyk.github.io/jah-databases-data-1/data/scientific-instrument-calibration-signature/index.jsonl.gz